**QUOTATION**

Quotation no: Patrick 111

Date 02/05/2023

**To,**

**Mr. Patrick M Dower**

**Goa**

Dear Sir,

Kindly find the quotation as per your requirement.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **SR NO** | **ITEM DESCRIPTION** | **QTY** | **PRICE** | **AMOUNT** |
| 1\* | Honeywell 2MP IP Fixed Lens Bullet Camera with inbuilt,SD Card Slot | 10 | 6780 | 67800 |
| 2 | Honeywell NVR Professional Series 5CH | 1 | 11880 | 11880 |
| 3 | WD Purple Surveillance Hard Disk 2 TB | 1 | 5500 | 5500 |
| 4 | 8 Port POE Giga Switch D link or Secue Eye or Similar | 1 | 11500 | 11500 |
| 6 | RJ 45 Connector With Crimping etc complete | 22 | 175 | 3850 |
| 7 | INSTALLATION TESTING COMMISSIONING | 1 | 9900 | 9900 |
| **TOTAL** | | | | **110430** |
|  |  |  |  |  |
| Supply and laying of cat 6 cables through PVC pipe / casing capping to be charged as actuals @ 95/- per mtr + GST | | | | |
|  |  |  |  |  |
| If required:- | |  |  |  |
| 1)Display 19'' @7900 + GST | |  |  |  |
| 2) Spike Board @ 600/- + GST | |  |  |  |
| 3) Network Rack @ 2900/- + GST | |  |  |  |
| 4) HDMI cable (3mtrs) @ 550/- + GST | |  |  |  |
|  |  |  |  |  |
| **In lieu of** |  |  |  |  |
| **1)** **Honeywell 4MP IP Starlight Fixed Lens Bullet ,with inbuilt SD card Slot POE, IP67 Tripwire/Perimeter @ 8900/-+GST** | | | | |
|

**Client scope:**

Scaffolding wherever required to be provided.

Electrification wherever necessary to be provided.

Fabrication like poles etc. to be provided.

Fabricated poles if required to be provided.

Civil work if required.

**Payment Terms**

100 % Advance

**Company’s Bank Details**

**Bank Name:** Central Bank of India

**Account Number:** 3167002097

**Branch & IFS Code:** Panaji & CBIN0280713

**Terms & conditions apply**.

Quotation valid for 10 days only.

GST @ 18% EXTRA

If payment not received on time interest @ 15% will incurred per annum.

Any extra item if required to be charged as actual.

Warranty as per manufacturer not valid in case of surges, fluctuation, lightening etc.to be claimed directly with the

manufacturer without involving JP TECHATRONICS.

Solution done as per recommendation and request by client hence, JP TECHATRONICS or its employees should not be held responsible for any kind of malfunctioning of the system for any reasons.

Services like data backup, searching footage, port forwarding etc. to be charged as actuals.

Service calls post installation to be charged as actuals.